## PCI Quote
SEAT S.A. · Fire Protection Systems · Q1 2026 Quote
Vendor: | Geinstal S.L. (CIF B-63215477)
Ref: | GI-SEAT-2026-Q1
Currency: | EUR (VAT excluded)
Item # | Description | Qty | Unit Price | Total
FP-001 | Annual preventive maintenance — detection system (1,847 detectors) | 1 | 64800
FP-002 | Annual preventive maintenance — sprinkler system | 1 | 28400
FP-003 | Annual preventive maintenance — BIEs (42 units) | 1 | 8200
FP-004 | Annual revision portable extinguishers (387 units) | 1 | 11200
FP-005 | Quarterly water pump room inspection | 4 | 1450
FP-006 | 24/7 emergency call-out (guaranteed response 2h) | 1 | 32500
FP-007 | Corrective interventions — block of 150 hours | 1 | 10500
FP-008 | Fire alarm panel firmware updates | 2 | 850
FP-009 | Semi-annual fireproof doors revision (168 units) | 2 | 4800
FP-010 | Documentation and quarterly compliance reports | 4 | 650
FP-011 | RIPCI annual certification coordination with OCA | 1 | 2800
FP-012 | Training session for SEAT fire safety staff | 2 | 1400
FP-013 | Spare parts stock commitment (10% adicional) | 1 | 5600
FP-014 | ESFR sprinkler head sampling test (parque logístico) | 1 | 3200
FP-015 | Travel expenses cap (site Martorell) | 1 | 4200
GRAND TOTAL
Note: Margin calculation not required — SEAT uses net pricing only.